## Labortary
PSSHMC Pathology List For 2020-2021 |  |  |  |  | Lab Link | [6 empty] | FY Diagnostic & Surgicals |  |  |  | S.Ejazuddin & Co |  |  |  | Popular International |  |  |  | Three Stars
Sr.No | Description | Projected Quantities For Raiwind Hospital | Projected Quantities For Muzaffargarh Hospital | Total Quantity | Product Name | Unit (ml/gm/Nos) | Pack Size | Pack /Kit Size | Brand Name | Origin | Supplier | Product Name |  |  |  | Product Name |  |  |  | Product Name | Brand | Pack Size | Supplier | Product Name | Pack | Origin/Manf
1 | 22% Bovine albumin | 3 |  | 3
2 | Abnormal (For Sysmex) | 1 |  | 1
3 | Abnormal Control (For sysmex | 1 |  | 1
4 | ACD-A Bag 500ml | 5 |  | 5
5 | Acetone 2.5 Ltr. (BDH) | 1 |  | 1
6 | Acid Phosphate Mono Test | 1 |  | 1
7 | Acitic Acid (Analytic Grade) | 1 |  | 1
8 | Act. Diff. Reagent Pack 15 | 1 |  | 1
9 | Act. Rinse Solution 500 ml | 1 |  | 1
10 | Adjustable Pipette | 1 |  | 1 | [15 empty] | Humapette Smart Line Digital | Human | 0.5–10µl, 5–50µl, 10–100µl, 20–200µl, 100-1000µl, 500–5000µl | Popular International
11 | Air Detector | 1 |  | 1
12 | Alat Kit 87.5 ml (310 Tests) | 1 |  | 1
13 | Albert Stain | 1 |  | 1 | [19 empty] | Albert Stain | 1xKit | Medilline | Three Star
14 | Albumin kit | 1 | 2 | 3 | [15 empty] | Albumin Liquicolor | Human | 4x100ml | Popular International
15 | Albumin Kit For Huma Star- | 1 |  | 1 | [15 empty] | Albumin Liquicolor | Human | 4x100ml | Popular International
16 | ALP 38 ml Kit (130 Tests) | 1 |  | 1
17 | ALP Kit 100 ml | 1 |  | 1 | [15 empty] | Alkaline Phosphatase opt. Liquicolor DGKC | Human | 10x10ml | Popular International
18 | ALP kit 400ML | 5 |  | 5 | [15 empty] | Alkaline Phosphatase opt. Liquicolor DGKC | Human | 8x50ml | Popular International
19 | ALT Kit For Huma Star-200 | 2 | 6 | 8 | [15 empty] | GPT (ALAT) IFCC mod. LiquiUV | Human | 8x50ml | Popular International
20 | Amies Transport Media Tube | 1 |  | 1 | [19 empty] | Amies Transport Media Tube | 1x100 | Biomed/ China | Three Star
21 | Amylase kit | 3 |  | 3 | [15 empty] | Alpha Amylase Liquicolor | Human | 12x10ml | Popular International
22 | Anaculant Swab | 1 |  | 1
23 | Anaeorabic Kit | 1 |  | 1
24 | Analytic Balance 0.01mg | 1 |  | 1
25 | Anti D Blood Grouping Sera | 1 |  | 1 | Anti D Blood Grouping Sera | 10ml/Vial | 100 | 01.Vial | Diagest | France | Lab Link
26 | Anti HAV Elisa (96 Tests) | 1 |  | 1 | [7 empty] | Dia-Source | 96 Test | Belgium | FY Diagnostic
27 | Anti Human Globulin | 1 |  | 1
28 | Anti TB PPD | 11 |  | 11
29 | Antibiotic Disc for Cefixime | 10 |  | 10
30 | Antibiotic Discs | 1 |  | 1
31 | Antibiotic discs Chlorphenicol | 1 |  | 1
32 | Antibiotic discs Nalidixic Acid | 0 |  | 0
33 | Antibiotic discs Amikacin | 1 |  | 1
34 | Antibiotic discs Amoxicillin + Clavulanic | 1 |  | 1
35 | Antibiotic discs Amoxicillin+Clavulanic Acid | 1 |  | 1
36 | Antibiotic discs Amoxicllin | 1 |  | 1
37 | Antibiotic discs Ampicillin | 1 |  | 1
38 | Antibiotic discs Ampicillin 10 mcg | 1 |  | 1
39 | Antibiotic discs Ampicillin+Sulbactam | 1 |  | 1
40 | Antibiotic discs Augmentin | 1 |  | 1
41 | Antibiotic discs Bacitracin | 1 |  | 1
42 | Antibiotic discs Carbenicillin | 1 |  | 1
43 | Antibiotic discs Cefaclor | 1 |  | 1
44 | Antibiotic discs Cefazolin | 1 |  | 1
45 | Antibiotic discs Cefoperazone+Sulbactum | 1 |  | 1
46 | Antibiotic discs Cefoxitin | 1 |  | 1
47 | Antibiotic discs Ceftriaxone | 1 |  | 1
48 | Antibiotic discs Cefuroxime | 1 |  | 1
49 | Antibiotic discs Cefuroxime Sodium | 1 |  | 1
50 | Antibiotic discs Cephaloxin | 1 |  | 1
51 | Antibiotic discs Clarithromycin | 0 |  | 0
52 | Antibiotic discs Clindamycin | 0 |  | 0
53 | Antibiotic discs Cloxacillin | 1 |  | 1
54 | Antibiotic discs Doxycycline | 1 |  | 1
55 | Antibiotic discs Erythricin | 1 |  | 1
56 | Antibiotic discs Gentamycin | 1 |  | 1
57 | Antibiotic discs Imepinum | 1 |  | 1
58 | Antibiotic discs Klaricid | 1 |  | 1
59 | Antibiotic discs Linezolid | 1 |  | 1
60 | Antibiotic discs Methicillin | 1 |  | 1
61 | Antibiotic discs Metronidazole | 0 |  | 0
62 | Antibiotic discs Moxifloxacin | 0 |  | 0
63 | Antibiotic discs Norfloxacin | 0 |  | 0
64 | Antibiotic discs Novobiocin | 1 |  | 1
65 | Antibiotic discs Oxacillin | 1 |  | 1
66 | Antibiotic discs Oxicillin | 0 |  | 0
67 | Antibiotic discs Penicilin G | 0 |  | 0
68 | Antibiotic discs Pipemidic | 1 |  | 1
69 | Antibiotic discs Piperacillin + Tazobactam | 0 |  | 0
70 | Antibiotic discs Tetracycline | 1 |  | 1
71 | Antibiotic discs Tobramycin | 1 |  | 1
72 | Antibiotic Flucloxacillin | 0 |  | 0
73 | Antibiotic Sensitivity Discs | 1 |  | 1
74 | Antibiotic Sensitivity Discs for Cefaclor | 0 |  | 0
75 | Antibiotic Sensitivity Discs for Cefepime | 0 |  | 0
76 | Antibiotic Sensitivity Discs for Cefoperazone | 0 |  | 0
77 | Antibiotic Sensitivity Discs for Cefotaxime | 0 |  | 0
78 | Antibiotic Sensitivity Discs for Ceftazidime | 0 |  | 0
79 | Antibiotic Sensitivity Discs for Ceftriaxone | 0 |  | 0
80 | Antibiotic Sensitivity Discs for Cephradine | 0 |  | 0
81 | Antibiotic Sensitivity Discs for Levofloxacin | 0 |  | 0
82 | Antibiotic Sensitivity Discs for Lincomycin | 0 |  | 0
83 | Antibiotic Sensitivity Discs for Nitrofurantine | 0 |  | 0
84 | Antibiotic Sensitivity Discs for Ofloxacin | 0 |  | 0
85 | Antibiotic Sensitivity Discs for Tanzobactum | 0 |  | 0
86 | Antibiotic Sensitivity Discs for Tazobactum | 0 |  | 0
87 | Antibiotic Sensitivity Discs for Trimethoprim | 0 |  | 0
88 | Antibiotic Sensitivity Discs for Vancomycin | 0 |  | 0
89 | Antibotic discs Aztreonam | 1 |  | 1
90 | Antibotic discs Bacitricin | 0 |  | 0
91 | Antibotic discs Norofloxacin | 1 |  | 1
92 | Anti-D Sera (Blood | 1 |  | 1 | Anti-D Sera (Blood | 10ml/Vial | 100 | 01.Vial | Diagest | France | Lab Link
93 | APTT Kit | 4 |  | 4 | APTT Kit | 150Test | 150 | 01.Kit | Wiener | Aurgintin | Lab Link | [8 empty] | aPTT-EL Complete kit with Cacl2 (Complete Kit) | Human | 6x4ml / 240 Test | Popular International
94 | Aptt Reagent Kit 150 Test | [18 empty] | HEMOSTAT aPTT-EL | Human | 6x4ml | Popular International
95 | Aso 100 ml |  | 2 | 2 | [15 empty] | Humatex ASO | Human | 100Test | Popular International
96 | ASOT Kit | 4 |  | 4 | [15 empty] | Humatex ASO | Human | 100Test | Popular International
97 | AST / SGOT kit (400ML) | 5 | 8 | 13 | [15 empty] | GOT (ASAT) IFCC mod. LiquiUV | Human | 8x50ml | Popular International
98 | AST Kit For Huma Star-200 | 1 |  | 1 | [15 empty] | GOT (ASAT) IFCC mod. LiquiUV | Human | 8x50ml | Popular International
99 | Auto Bilirubin Direct For Huma Star-200 | 1 | 2 | 3 | [15 empty] | Auto-bilirubin-D (DPD Method) | Human | 375 ml | Popular International
100 | Auto Bilirubin Total For Huma Star-200 | 1 | 4 | 5 | [15 empty] | Auto-bilirubin-T (DPD Method) | Human | 375 ml | Popular International
101 | Auto Creatinine For Huma Star-200 | 3 | 6 | 9 | [15 empty] | Auto-Creatinine JAFFE Method | Human | 250 ml | Popular International
102 | Auto DNAExtraction Kit | 1 |  | 1
103 | Auto RNA Extraction (Tests) | 1 | 1728 | 1729
104 | Bacitricin |  | 2 | 2
105 | Bacteriology Safety Cabinet | 0 |  | 0
106 | Beta HCG (Elisa Kit) | 2 |  | 2 | Beta HCG (Elisa Kit) | 96 Tests | 96 | 01.Kit | Novatec | Germany | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | HCG Elisa Kit | Human | 96 tests | Popular International
107 | Beta HCG Kit | 0 |  | 0
108 | Bilirubin Direct 44 ml Kit | 0 |  | 0
109 | Bilirubin Total & Direct | 2 |  | 2 | [15 empty] | Bilirubin Total/Direct Jendrassik/ Grof Method | Human | 2x100ml | Popular International
110 | Bilirubin Total Kit (200 ml) | 5 | 2 | 7 | [15 empty] | Bilirubin Liquicolor Total DCA Method | Human | 200 ml | Popular International
111 | Bleech 5% | 1 | 4 | 5
112 | Blood Agar Base | 1 |  | 1
113 | Blood Agar Petri Dish | 1 |  | 1
122 | Brush for Test Tube | 0 |  | 0 | [19 empty] | Brush for Test Tube | 1xNo | Local | Three Star
134 | Ceder Wodd Oil | 1 |  | 1 | [19 empty] | Ceder Wood Oil | 500 ml | SDL | Three Star
116 | Blood Culture Bottole 50 ml |  | 40 | 40
117 | Blood Grouping sera | 66 |  | 66 | Blood Grouping sera | 3x10ml | 100 | 01.Kit | Diagest | France | Lab Link
118 | Blood Grouping Sera (Anti ABD) |  | 46 | 46 | Blood Grouping Sera (Anti ABD) | 3x10ml | 100 | 01.Kit | Diagest | France | Lab Link
119 | Blood Grouping Sera (Anti D) | 1 |  | 1 | Blood Grouping Sera (Anti D) | 10ml/Vial | 100 | 01.Kit | Diagest | France | Lab Link
120 | Blood urea | 7 |  | 7 | [15 empty] | Urea Liqui UV (GLDH Method) | Human | 8x50 ml | Popular International
136 | Centrifuge Tubes Plastic | 1 |  | 1 | Centrifuge Tubes Plastic | 250Tube/Pack | 250 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | Centrifuge Tube Plastic 16x102 Conical | 1x500 | China | Three Star
154 | Comber-10 Strips | 12 | 2 | 14 | Comber-10 Strips | 100Test/Bottle | 100 | 01.Bottle | Roche | Germany | Lab Link | [8 empty] | Urine Strips 10 Parameter “Mission Expert 10SW” Nit/Uro/Prot/PH/Blood/S.G/Ket/ Bili /Glucose & Leukocyte | Acon USA | 1000's | Popular International | Comber-10 Strips | 1x100 | Roche | Three Star
123 | Buffer PH Tablets | 0 |  | 0
124 | Bunsen Burner | 0 |  | 0
125 | C1 Calibration solution | 4 |  | 4
126 | C2 Calibration solution | 4 |  | 4
127 | C3 Fluid Pack | 4 |  | 4
128 | Calcium Kit | 3 |  | 3 | [15 empty] | Calcium Liquicolor (CPC Method) | Human | 200ml | Popular International
129 | Calcium Kit For Huma Star-200 | 0 | 6 | 6 | [15 empty] | Calcium Liquicolor (CPC Method) | Human | 200ml | Popular International
130 | Calibrated Halogen Lamp For | 2 |  | 2 | [15 empty] | Calibrated Halogen Lamp for HumaStar 200 | Human | Single | Popular International
131 | Caps For Serum Vials | 0 |  | 0
132 | Cartridge for Dionizer | 0 |  | 0 | Cartridge for Dionizer | 01.No | 1 | 01.No | Herco | Germany | Lab Link
160 | Conical Tubes | 0 | 3500 | 3500 | Conical Tubes | 01.Tube | 1 | 01.Pcs | Immumed | China | Lab Link | [12 empty] | Conical Tubes | 1x500 | China | Three Star
180 | Decolourizer 500 ml | 0 |  | 0 | [19 empty] | Decolourizer 500 ml | 1x500 ml | Diachem | Three Star
135 | Cell Pack PK-20 LTR for Sysmex Kx.21 N | 35 | 2 | 37 | [11 empty] | Cell Pack US FDA approved | Sysmex | 20Litter | S.Ejazuddin
187 | Dengue NS 1 (Devices) | 1 |  | 1 | [19 empty] | Dengue NS 1 (Devices) | 1x40 test | Fastep | Three Star
137 | Chloride Kit | 1 |  | 1 | [15 empty] | Chloride Liquicolor (TPTZ Method) | Human | 200ml | Popular International
138 | Cholesterol Kit | 3 |  | 3 | [15 empty] | Cholesterol Liquicolor (CHOD/PAP Method) | Human | 4x100ml | Popular International
139 | Cholestrol Kit For Huma Star-200 | 2 | 2 | 4 | [15 empty] | Cholesterol Liquicolor (CHOD/PAP Method) | Human | 4x100ml | Popular International
140 | Choloride200ml | 0 |  | 0
141 | Ciprofloxacin | 0 |  | 0
142 | Citrate Reagent | 0 |  | 0
143 | CK - MB | 5 |  | 5 | [15 empty] | CK-MB (NAC-activated) | Human | 20x3ml | Popular International
144 | CK - NAC /CPK | 4 | 4 | 8 | [15 empty] | CK NAC activated | Human | 20x3ml | Popular International
145 | CK-MB 38 ml Kit (130 Tests) | 0 |  | 0
146 | Cleaner For Advia-360 |  | 2 | 2
147 | Cleaning Solution 100ml | 0 |  | 0
148 | Cled Agar 500G(Powder) | 0 |  | 0
149 | CLED Agar Base | 0 |  | 0
150 | Cled Agar Petri Dish | 0 |  | 0
151 | Clenical Glass Test Tube | 0 |  | 0
152 | Cobas 121 | 0 |  | 0
153 | Coloting Time Tube | 0 |  | 0
198 | Distalled water 5 Litre | 200 |  | 200 | [19 empty] | Distalled water 5 Litre | 1x5 Ltrs | Local | Three Star
155 | Combi-Trol TS Plus L3 | 0 |  | 0
156 | Combs Anti Sera | 5 |  | 5 | Combs Anti Sera | 10ml/Vial | 100 | 01.Kit | Immumed | China | Lab Link
157 | Conical Flask 1 Ltr | 0 |  | 0
158 | Conical Flask 200 ml | 0 |  | 0
159 | Conical Flask 500 ml | 0 |  | 0
200 | DPX Solution 500 ml | 0 |  | 0 | [19 empty] | DPX Solution 500 ml | 1x500 ml | SDL | Three Star
161 | Control Plasma abnormal 6x1 | 1 |  | 1 | [15 empty] | Control Plasma Abnormal (CPA) | Human | 6x1ml | Popular International
162 | Control Plasma normal 6x1 ml | 1 |  | 1 | [15 empty] | Control Plasma Normal (CPN) | Human | 6x1ml | Popular International
163 | Control Serum HN | 1 |  | 1 | [15 empty] | SERODOS (Lyophilized Human Serum Assayed, Normal) | Human | 6x5ml | Popular International
164 | Control Serum HP | 1 |  | 1 | [15 empty] | Serodos Plus (R), Universal Control Serum, assayed | Human | 6x5 ml | Popular International
165 | Contrufuge glass test tube | 1 |  | 1 | Contrufuge glass test tube | 01.Tube | 1 | 01.Pcs | Marinfileld | Germany | Lab Link
166 | Corona Virus Test Rapigen (Korea) Biocredit |  | 50 | 50
167 | Cover Glass (20X30) | 2000 |  | 2000
207 | ESR Tube Stand | 0 |  | 0 | [19 empty] | ESR Tube Stand | 1xNo | Local | Three Star
208 | ESR Pippet 1 ml | 0 | 2 | 2 | [19 empty] | ESR Pippet 1 ml | 1xNo | China | Three Star
215 | Filter Paper Round | 0 |  | 0 | [19 empty] | Filter Paper Round | 1x100 | Local | Three Star
171 | Creatinin Kit | 9 | 4 | 13 | [15 empty] | Auto-Creatinine JAFFE Method | Human | 250 ml | Popular International
172 | Creatinine 75 ml Kit (270 | 0 |  | 0
173 | Creatinine Kit 1000 ml | 0 |  | 0
174 | CRP Kit | 5 | 2 | 7 | [7 empty] | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | HUMATEX CRP | Human | 100 tests | Popular International
175 | CSF Protein Kit | 0 |  | 0
176 | CSF protene Standard 5 ml | 0 |  | 0
177 | Cuvette Clean 4X100 ml For Star-200 | 2 |  | 2 | [15 empty] | Cuvette Clean For Humastar-200 | Human | 4x100ml | Popular International
178 | Cynaide Agar | 0 |  | 0
179 | Daily Cleaning Solution 100 For Humalyte Plus 3 | 0 |  | 0
232 | Gimsa Stain | 3 |  | 3 | Gimsa Stain | 500.ml/Bottle | 100 | 01.Bottle | Medilines | Pakistan | Lab Link | [12 empty] | Gimsa Stain | 1x500 ml | Diachem | Three Star
181 | Dengue Device | 360 |  | 360
182 | Dengue Devices 1 Test | 0 |  | 0
240 | Glass Pipette 10ml | 0 |  | 0 | [19 empty] | Glass Pipette 10ml | 1xNo | China | Three Star
184 | Dengue Elisa Kit Igg, Igm | 0 |  | 0
185 | Dengue IgG Elisa 96 Test Kit | 0 |  | 0
186 | Dengue kit | 1 |  | 1
241 | Glass Pipette 5ml | 0 |  | 0 | [19 empty] | Glass Pipette 5ml | 1xNo | China | Three Star
188 | Dengue Virus IgM Elisa Kit | 0 |  | 0
189 | Depressor | 0 |  | 0
190 | Differential CBC Counter | 1 |  | 1
191 | Digital Balance (0.001mg | 0 |  | 0
192 | Diluent For Advia-360 |  | 4 | 4
193 | Disc Dispensor (6 & 8 | 0 |  | 0
194 | Disposable Transfer Pipettes | 0 |  | 0
195 | Disposable Vaginal | 0 |  | 0
196 | Distalled water |  | 250 | 250
197 | Distalled water 20 Litre | 65 |  | 65
242 | Glass Pipette1ml ESR | 0 |  | 0 | [19 empty] | Glass Pipette1ml ESR | 1xNo | China | Three Star
199 | Doxicyclin | 0 |  | 0
243 | Glass slide for microscope | 80 | 230 | 310 | [19 empty] | Glass slide for microscope | 1x72 Pcs | China | Three Star
201 | EDTA Powder | 0 |  | 0
202 | Eight Check Control | 0 |  | 0
203 | Eight Check Control Normal | 0 |  | 0
204 | Electrode Conditioner 100ml | 0 |  | 0
205 | Elisa Assay Control | 0 |  | 0
206 | Erithromycin | 0 |  | 0
259 | H.B Solution | 0 |  | 0 | [19 empty] | HB.Reagent 500ml | 1x500 ml | Diachem | Three Star
268 | HB.Reagent 500ml | 0 |  | 0 | [19 empty] | HB Reagent | 1x500 ml | Diachem | Three Star
209 | ESR tube |  | 30 | 30
210 | Ethanol 100% | 0 |  | 0
211 | Ethanol 95.97% | 0 |  | 0
212 | FDPS Kit | 0 |  | 0
213 | Ferritin Kit With Standard | 2 |  | 2 | [15 empty] | Ferritin (Buffer + Latex Suspension + Calibrator) | Human | 37.5ml + 4x0.5ml | Popular International
214 | Fibrinogen Kit 100 test | 0 |  | 0
282 | HCL N/10 500ml | 0 |  | 0 | [19 empty] | HCL N/10 500ml | 1x500 ml | Diachem | Three Star
216 | Filter Paper Round TB DOT | 0 |  | 0
217 | Filter Tips 0.5-10 ul | 0 | 1344 | 1344
218 | Filter Tips 1000 ul | 0 | 1536 | 1536
219 | Filter Tips 100ul | 0 | 1152 | 1152
220 | Flame Burner & Stand | 0 |  | 0
221 | Flow Cell (Humalyzer-3000) | 0 |  | 0
222 | Fluid Pack C3 | 0 |  | 0
223 | Formalin | 0 |  | 0
224 | Free T3 Kit | 10 |  | 10 | Free T3 Kit | 96Test/Kit | 96 | 01.Kit | Calbiotech | USA | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | fT3 Elisa | Human | 96 tests | Popular International
225 | Free T4 Kit | 10 |  | 10 | Free T4 Kit | 96Test/Kit | 96 | 01.Kit | Calbiotech | USA | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | fT4 Elisa | Human | 96 tests | Popular International
226 | Free TSH Kit | 0 |  | 0
227 | Fresh Frozen Plasma(SFP) | 0 |  | 0
228 | FSH Elisa 96 test Kit | 0 |  | 0
229 | Fusidic Acid | 0 |  | 0
298 | Heparin Vials | 0 | 1600 | 1600 | Heparin Vials | 100/Pack | 100 | 01.Pack | Immumed | China | Lab Link | [12 empty] | Heparin Vials | 1x100 | Bio-Vac | Three Star
231 | GGT 38 ml Kit (130 Tests) | 0 |  | 0
300 | HIV Devices | 1128 | 1120 | 2248 | HIV Devices | 40Test/Kit | 40 | 01.Kit | Immumed | China | Lab Link | [12 empty] | HIV Devices | 1x40 Test | Fastep | Three Star
233 | Gimsa Stain (Merck) | 0 |  | 0 | Gimsa Stain (Merck) | 01.Liter/Bottle | 500 | 01.Bottle | Merck | Germany | Lab Link
234 | Glass Conical Tube | 0 |  | 0
235 | Glass Cylinder 1000ml | 0 |  | 0
236 | Glass Cylinder 100ml | 0 |  | 0
237 | Glass Cylinder 250ml | 0 |  | 0
238 | Glass Cylinder 500ml | 0 |  | 0
239 | Glass Petri Dish Small | 30 |  | 30
310 | Improved Neubar Chamber | 0 |  | 0 | [19 empty] | Improved Neubar Chamber | 1xNo | Germany | Three Star
322 | Kovac Reagents | 0 |  | 0 | [19 empty] | Kovac Reagents | 1x100 ml | Diachem | Three Star
346 | Micro Pipette (10-100ul) | 0 |  | 0 | [19 empty] | Micro Pipette (10-100ul) | 1xNo | China | Three Star
347 | Micro Pipette (20-200ul) | 0 |  | 0 | [19 empty] | Micro Pipette (20-200ul) | 1xNo | China | Three Star
244 | Glass Slide TB DOTS | 0 |  | 0
382 | Pap Stain | 0 |  | 0 | [19 empty] | Pap Stain | 1xKit | Medilline | Three Star
417 | Rack for Plastic Test Tube | 0 |  | 0 | [19 empty] | Rack for Plastic Test Tube | 1xNo | China | Three Star
247 | Glass Test Tube 5 ml | 0 |  | 0
248 | Glass Tube 18 x 150mm | 0 |  | 0
249 | Glucose 140 ml Kit (500 | 0 |  | 0
250 | Glucose 1000ML for HUMASTAR | 6 |  | 6 | [15 empty] | Glucose Liquicolor (GOD-PAP) | Human | 1000ml | Popular International
251 | Glucose Kit (1000 ml) | 0 |  | 0
252 | Glucose Kit 250 ml | 0 |  | 0
253 | Glucose Kit 500ml | 0 |  | 0
254 | Glucose Kit ForHuma Star-200 | 0 | 4 | 4 | [15 empty] | Glucose Liquicolor (GOD-PAP) | Human | 1000ml | Popular International
255 | GPT / ALAT Kit (400 ml) | 0 | 4 | 4 | [15 empty] | GPT (ALAT) IFCC mod. LiquiUV | Human | 8x50ml | Popular International
427 | Retic Soultion | 3 |  | 3 | Retic Soultion | 50ml | 50 | 01.Bottle | Medilines | Pakistan | Lab Link | [12 empty] | Retic Soultion | 1x500 ml | Diachem | Three Star
257 | Gyanide Agar | 0 |  | 0
258 | H. Pylori Devices (Stool) | 0 | 2 | 2 | H. Pylori Devices (Stool) | 40Test/Kit | 40 | 01.Kit | Immumed | China | Lab Link
457 | Sodium Citrate/ESR Soultion | 0 | 2 | 2 | [19 empty] | Sodium Citrate/ESR Soultion | 1x500 ml | Diachem | Three Star
260 | H.Pylori Device 1 Test | 0 | 228 | 228 | H.Pylori Device 1 Test | 40Test/Kit | 40 | 01.kit | Immumed | China | Lab Link
473 | Stick Swab for Culture | 240 |  | 240 | [19 empty] | Stick Swab for Culture | 1x100 | China | Three Star
262 | H2 O2 Reagent | 0 |  | 0
263 | H2,O2 | 0 |  | 0
264 | Hav Kit 96 Test Elisa | 0 |  | 0
265 | Haxagon TB (Mycodot) | 0 |  | 0
266 | HB kIT | 0 |  | 0
267 | HB Standard | 0 |  | 0
509 | Tourni kit | 0 |  | 0 | [19 empty] | Tourniquet | 1xNo | China | Three Star
269 | HbA1c Analyzer Strips | 0 | 1100 | 1100 | [15 empty] | Reagent Kit for HbA1c Analyzer with Free Placement of HbA1c Analyzer "HumaMeter A1c" | Human | 2x50Test | Popular International
270 | HBA1C Control | 0 |  | 0
271 | HbA1C Kit | 6 |  | 6 | [15 empty] | Glycohemoglobin HbA1 Test | Human | 100 tests | Popular International
272 | HbA1c Strips Controls | 0 |  | 0
273 | HBs Ag 1 Test | 0 |  | 0
274 | HBSAG 96 TEST ELISA (GBC) | 5 | 4 | 9 | HBSAG 96 TEST ELISA (GBC) | 96Test/Kit | 96 | 01.Kit | Antec | UK | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | HBsAg Elisa Kit | Human | 96 Test | Popular International
513 | Trop T- Kit 1Test |  | 188 | 188 | Trop T- Kit 1Test | 01Test/Kit | 1 | 01.test | Roche | Germany | Lab Link | [12 empty] | Trop-T Kit 1 Test | 1xTest | Roche | Three Star
| HBa1C kit |  |  |  | HBa1C kit | 25Test/Kit | 25 | 01.Kit | Hipro Biotech | USA | Lab Link
276 | HBV Real Time PCR Kit (192 Tests) | 0 | 2 | 2
277 | HC Cleaner | 3 | 2 | 5 | [15 empty] | HC-Cleaner for Hematology Analyzer | Human | 1000ml | Popular International
278 | Hc Diluent | 14 | 14 | 28 | [15 empty] | HC-Diluent for Hematology Analyzer | Human | 20Ltr. | Popular International
279 | HC Lyse | 6 | 6 | 12 | [15 empty] | HC-Lyse for Hematology Analyzer | Human | 1000ml | Popular International
280 | HC-Control | 2 | 2 | 4 | [15 empty] | HC-Control for Hematology Analyzer | Human | 3x2.5ml | Popular International
281 | HCL (Analytic Grade) | 0 |  | 0
532 | Urine Pregnancy Strip | 34 |  | 34 | Urine Pregnancy Strip | 100test/Kit | 100 | 01.kit | Immumed | China | Lab Link | [12 empty] | Urine Pregnancy Strip | 1x100 | Immumed/ Imported | Three Star
283 | Hcv 1 Test | 0 |  | 0
284 | HCV 96 TEST ELISA (GBC) | 14 | 6 | 20 | HCV 96 TEST ELISA (GBC) | 96Test/Kit | 96 | 01.Kit | Antec | UK | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | Anti-HCV Elisa Kit | Human | 96 tests | Popular International
534 | Vacutainer for Serum | 0 |  | 0 | Vacutainer for Serum | 100/pack | 100 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | Vacutainer for Serum Gel tube 4 ml | 1x100 | Bio-Vac | Three Star
286 | HCV Geno Type Kit | 0 |  | 0
287 | HCV Geno Type Kit (24Tests) |  | 2 | 2
288 | HCV Real Time PCR Kit (192 Tests) | 0 | 8 | 8
289 | HDL Chloestrol Kit For | 0 |  | 0
290 | HDL Chloestrol Kit For Huma Star-200 |  | 2 | 2 | [15 empty] | HDL Cholesterol Direct Liquicolor Complete test kit | Human | 80 ml | Popular International
291 | HDL Direct 80 ml Kit (240 | 0 |  | 0
292 | HDL Kit | 1 |  | 1 | [15 empty] | HDL Cholesterol Direct Liquicolor, Complete test kit | Human | 80 ml | Popular International
293 | HDL/LDL Calibrator | 0 |  | 0
294 | Heamatoxyline & Eosin Stain | 0 |  | 0
295 | Heemonetics Kit+ACD-A | 0 |  | 0
296 | Hema Colour Stain (Merck) |  | 2 | 2
297 | Hematocrit Centrifuge DM | 0 |  | 0
536 | Vacutainer tube PT/APTT (100TESTS) | 1560 | 4 | 1564 | Vacutainer tube PT/APTT (100TESTS) | 100/Pack | 100 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | Vacutainer tube PT/APTT (100 Tests) | 1x100 | Bio-vac | Three Star
299 | Hexagon TB (Mycodot) | 24 |  | 24 | Hexagon TB (Mycodot) | 40Test/Kit | 40 | 01.Kit | Immumed | China | Lab Link
537 | VDRL Devices | 0 | 1080 | 1080 | VDRL Devices | 40/Pack | 40 | 01.Kit | Immumed | China | Lab Link | [12 empty] | VDRL Devices | 1x40 Test | Fastep | Three Star
301 | HIV TEST | 0 |  | 0
302 | HNO3 (Analytic Grade | 0 |  | 0
303 | HS Path Control | 0 |  | 0
304 | Humalyte Septum | 0 |  | 0
305 | Humalyzer Tubing Set | 0 |  | 0
306 | Humatrol N | 0 |  | 0
307 | Humatrol P | 0 |  | 0
308 | Humaulyte Cleaning Solution | 0 |  | 0
309 | Hydrogen Peroxide 3% | 0 |  | 0
541 | WBC Soultion | 0 |  | 0 | [19 empty] | WBC Soultion | 1x500 ml | Diachem | Three Star
311 | Indole Reagent | 0 |  | 0
312 | Infection Monoucleosis Kit | 0 |  | 0
313 | Iron B cpaacity kit (TIBC) | 2 |  | 2 | [15 empty] | TIBC (Total Iron Binding Capacity) | Human | 100 tests | Popular International
314 | Iron Kit | 3 |  | 3 | [15 empty] | Iron Liquicolor (CAB Method) | Human | 2x100ml | Popular International
315 | Iron Kit For Huma Star-200 | 0 |  | 0 | [15 empty] | Iron Liquicolor (CAB Method) | Human | 2x100ml | Popular International
316 | Isetrol Electrolyte Control | 0 |  | 0
317 | Juster Pipette (Germany) 50µl | 0 |  | 0
318 | K Filling Solution 100 ml For Humalyte Plus 3 | 0 |  | 0
319 | Kampulin jar | 0 |  | 0
320 | KIA | 0 |  | 0
321 | KoH (AR) | 0 |  | 0
114 | Blood Culture Bottle Large | 36 |  | 36 | [19 empty] | Blood Culture Bottle Large | 1x50 ml | RSB | Three Star
323 | Lamp For Humalyzer | 0 |  | 0
324 | LDH 38 ml Kit (130 Tests) | 0 |  | 0
325 | LDH Kit | 3 | 2 | 5 | [15 empty] | LDH Liqui UV (SCE mod.) | Human | 10x10ml | Popular International
326 | LDL Kit 300ml | 0 |  | 0
327 | Leucodepleted Platelets Kit | 3 |  | 3
328 | Lipase Kit | 0 | 2 | 2 | [15 empty] | Lipase Liquicolor | Human | 50ml | Popular International
329 | Lyphocheck Immiuno | 0 |  | 0
330 | Lyse For Advia-360 (Set of 2) |  | 8 | 8
331 | Macconkey Agar (ready made) | 0 |  | 0
332 | Mackonkey Agar Media | 0 |  | 0
333 | Mackonkey Agar Petri Dish | 0 |  | 0
334 | Mackonkeys Agar 500 grams | 0 |  | 0
335 | Magnifying Glass | 0 |  | 0
336 | MCS | 0 |  | 0
337 | Mecortaney Bottle 14ml | 0 |  | 0
338 | Mecortaney Bottle 28ml | 0 |  | 0
339 | Mecortaney Bottle 7ml | 0 |  | 0
340 | Methanol Merck | 2 |  | 2
341 | Methylated Spirit TB DOTS | 0 |  | 0
342 | Methylene blue 500 ml | 3 |  | 3
343 | Methylene Blue TB DOTS | 0 |  | 0
344 | MG Kit (Magnesium Kit) | 0 |  | 0
345 | Micro Albumin Urea | 0 | 64 | 64 | Micro Albumin Urea | 50Test/Vial | 50 | 01.Vial | Roche | Germany | Lab Link
115 | Blood Culture Bottle Small | 84 |  | 84 | [19 empty] | Blood Culture Bottle Small | 1x25 ml | RSB | Three Star
121 | Blue tips (500pcs) | 12 | 14 | 26 | Blue tips (500pcs) | 500Pcs | 500 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | Blue Tips (1x500) | 1x500 | China | Three Star
348 | Micro Pipettes Adjustable | 0 |  | 0
349 | Microbiology Oil (Merck) | 0 | 2 | 2
350 | Microbiologycal Loops | 0 |  | 0
351 | Minimum Quantitty Test (96 | 0 |  | 0
352 | MIU(Motality Intoll Urea) | 0 |  | 0
353 | Montox Test 5IU(10Ml | 0 |  | 0
354 | Montux Vial | 0 | 2 | 2
355 | Motility Reagent | 0 |  | 0
133 | CBC Vacutainer Tubes (New) | 31200 | 13600 | 44800 | CBC Vacutainer Tubes (New) | 100Tube/Pack | 100 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | CBC Vacutner Tube (100 Tests) | 1x100 | Bio-Vac | Three Star
357 | MP Device 1 test |  | 170 | 170 | MP Device 1 test | 25Test/Kit | 25 | 01.Kit | Nova Test | Korea | Lab Link
358 | Mueller Hinton Agar Media | 0 |  | 0
359 | Multi Calibrator 4X5ml For Huma Star-200 | 3 | 8 | 11 | [15 empty] | Multi Calibrator “AUTOCAL” | Human | 4x5ml | Popular International
360 | Multicalibrator Level 1 | 0 |  | 0
361 | Multicalibrator Level 2 | 0 |  | 0
362 | Na Conditioner 100 ml For Humalyte Plus 3 | 0 |  | 0
363 | Na/Cl Filling Solution 100 | 0 |  | 0
364 | Naoh (AR) | 0 |  | 0
365 | Nasopharyngeal Catheter | 0 |  | 0
366 | Neubar Chamber (Brite Line | 0 |  | 0
367 | Neutrant Agar 28ml | 0 |  | 0
368 | Neutrient Agar base 500gm | 2 |  | 2
369 | Neutrient Agar Petri Dish | 0 |  | 0
370 | Nichrom Incoulating Loop | 0 |  | 0
371 | Nitric Acid 2.5 Ltr. | 0 |  | 0
372 | Nitric Acid 500 ml | 0 |  | 0
373 | Normal Control (For Sysmax | 0 |  | 0
374 | Normal Control (Human) Vial | 0 |  | 0
375 | NS 1 Elisa 96 Tests Kit | 0 |  | 0
376 | NS-1 Ag 96 Test Elisa | 2 |  | 2 | NS-1 Ag 96 Test Elisa | 96test/Kit | 96 | 01.Kit | InBios | USA | Lab Link
377 | Nudeic Acit Extraction Kit | 0 |  | 0
378 | Nutrient Broth | 0 |  | 0
379 | OBTI(Occult Blood) | 0 |  | 0
380 | Optochin |  | 2 | 2
381 | Oxidase Reagents | 0 |  | 0
168 | Cover Glass 18 X 18mm |  | 30 | 30 | [19 empty] | Cover Glass 18x18 mm | 1x200 Pcs | GmbH | Three Star
383 | Paper 91 XX Series | 0 |  | 0
384 | Paper Roll CBC RT-60 | 0 |  | 0
385 | PCR Reaction Tube 0.1 ML | 0 | 2000 | 2000
386 | Peptone Water (Media) | 0 |  | 0
169 | Cover Slip (24X50)mm |  | 4 | 4 | [19 empty] | Cover Slip 24x50 mm | 1x100 Pcs | GmbH | Three Star
388 | Petri Dish 6" 90 mm | 0 |  | 0
389 | Petri Dishes 2" (50 mm) | 0 | 280 | 280
390 | PH Meter Digital | 0 |  | 0
391 | Ph Paper | 0 |  | 0
392 | Phosphorus Kit | 0 |  | 0
393 | Phosphorus 30 ml Kit (90 | 0 |  | 0
394 | Phosphorus Kit For Huma Star-200 | 2 | 4 | 6 | [15 empty] | Phosphorus Liquirapid | Human | 200ml | Popular International
395 | Plasma Collection Set with | 1 |  | 1
396 | Platinum Wire loop With Handle | 1 |  | 1
397 | Po4 (Phoforous) 100 ml | 1 |  | 1
398 | Po4 (Phosphate) | 0 |  | 0
399 | Polyester fiber tipped C/S | 0 |  | 0
400 | Potassium Kit | 0 |  | 0
401 | Potassium Kit (Mono Reagent) | 0 | 2 | 2
402 | Potassium Kit For Huma Star- | 1 |  | 1 | [15 empty] | Potassium Liquirapid | Human | 2x50ml | Popular International
403 | PPD Tuberculin | 0 |  | 0
170 | Cover Slips For Neubaur | 100 |  | 100 | [19 empty] | Cover Slip For Neubar | 1 No | Germany | Three Star
405 | Pregnency Strips (HCG) | 0 | 16 | 16
406 | Prolactin Elisa 96 test Kit | 1 |  | 1 | [15 empty] | PRL-Prolactin | Human | 96 tests | Popular International
407 | Protocol Card for NCS+ | 0 |  | 0
408 | PSA Elisa Kit 96 Test | 2 |  | 2 | [15 empty] | PSA (total Prostate Specific Antigen) |  | 96 tests | Popular International
409 | PT Kit | 14 |  | 14 | PT Kit | 100Test/Kit | 100 | 01.Kit | Wiener | Argentina | Lab Link | [8 empty] | Hemostat Thromboplastin/60 test | Human | 6x2ml | Popular International
410 | PT Kit 100 Tests | 1 |  | 1 | PT Kit 100 Tests | 100Test/Kit | 100 | 01.kit | Wiener | Argentina | Lab Link | [8 empty] | Hemostat Thromboplastin/60 test | Human | 6x2ml | Popular International
411 | PT Kit 60 Tests |  | 10 | 10 | PT Kit 60 Tests | 100Test/Kit | 100 | 01.Kit | Wiener | Argentina | Lab Link | [8 empty] | Hemostat Thromboplastin/60 test | Human | 6x2ml | Popular International
412 | PT Vials 10 Tests | 0 |  | 0
413 | QC Solution 100 ml For Humalyte Plus 3 | 0 | 2 | 2 | [15 empty] | QC Solution for Humalyte Plus-3 | Human | Pack of 100ml | Popular International
414 | R.A Factor Kit | 10 |  | 10 | [15 empty] | HUMATEX RF | Human | 100 tests | Popular International
415 | R.O 100 Ltr. | 0 |  | 0
416 | RA latex Kit 100 test | 0 | 2 | 2 | [15 empty] | HUMATEX RF | Human | 100 tests | Popular International
183 | Dengue Devices IgG IgM | 0 |  | 0 | [19 empty] | Dengue Devices IgG IgM | 1x40 test | Fastep | Three Star
418 | Reaction Cuvetter for Huma | 240 |  | 240 | [15 empty] | Reaction Cuvetter For Humastar-200 | Human | 200Pcs./ Box | Popular International
419 | Reactive Cuvettes | 1 | 400 | 401 | [15 empty] | Reaction Cuvetter For Humastar-200 | Human | 200Pcs./ Box | Popular International
420 | Reagent Pack 1000 ml For Humalyte Plus 3 | 1 | 4 | 5 | [15 empty] | Reagent Pack for Humalyte Plus-3 | Human | 1000ml | Popular International
421 | Reagent Pack for ABG's | 1 |  | 1
422 | Reagent Pack for Humalyte | 4 |  | 4 | [15 empty] | Reagent Pack for Humalyte Plus-3 | Human | 1000ml | Popular International
423 | Reagent pack for humaylte plus 3 | 1 |  | 1 | [15 empty] | Reagent Pack for Humalyte Plus-3 | Human | 1000ml | Popular International
424 | Ref. Filling Solution 100 ml For Humalyte Plus 3 | 1 | 2 | 3 | [15 empty] | Ref. Filling Solution For Humalyte-3 | Human | Pack of 100ml | Popular International
425 | Reference Micro Electrode | 1 |  | 1
426 | Refractometer For Lab Beanch | 0 |  | 0
230 | Gel Tubes | 0 |  | 0 | [19 empty] | Gel Tubes | 1x100 | Bio-vac | Three Star
428 | Reticulyte | 1 |  | 1 | Reticulyte | 50ml | 50 | 01.Bottle | Medilines | Pakistan | Lab Link
429 | RPR Kit | 1 |  | 1 | [15 empty] | Syphilis RPR Test | Human | 100 tests | Popular International
245 | Glass test tube | 4800 |  | 4800 | [19 empty] | Glass test tube 12x75 mm | 1x100 | China | Three Star
246 | Glass Test Tube 10 ml |  | 400 | 400 | [19 empty] | Glass Test Tube 5 ml 12x100 mm | 1x100 | China | Three Star
432 | Sample Cup For Huma Star- | 1 |  | 1 | [15 empty] | Sample Cup 1ml for HumaStar 200 |  | 50Pcs. | Popular International
433 | Sample Cups RNA & DNA | 1 |  | 1
434 | Seminal Fluid Examination | 1 |  | 1
435 | Serodos Chemistry Quality Control Normal 20*5ml | 1 |  | 1 | [15 empty] | SERODOS (Lyophilized Human Serum Assayed, Normal) | Human | 6x5ml | Popular International
436 | Serodos For Huma Star-200 | 1 | 4 | 5 | [15 empty] | SERODOS (Lyophilized Human Serum Assayed, Normal) | Human | 6x5ml | Popular International
437 | Serodos Plus 30 ml | 1 |  | 1 | [15 empty] | Serodos Plus (R), Universal Control Serum, assayed | Human | 6x5 ml | Popular International
438 | Serodos Plus For Huma Star-200 | 1 | 6 | 7 | [15 empty] | Serodos Plus (R), Universal Control Serum, assayed | Human | 6x5 ml | Popular International
439 | Serum Feritten Kit | 1 |  | 1
440 | Serum Iron Kit | 1 |  | 1 | [15 empty] | Iron Liquicolor (CAB Method) | Human | 2x100ml | Popular International
256 | Gram Stain Set of 4 Bottle | 2 | 2 | 4 | Gram Stain Set of 4 Bottle | 4x500ml | 20000 | 01.Pack | Medilines | Pakistan | Lab Link | [12 empty] | Gram Stain Set of 4 Bottle | 4x500 ml | Diachem | Three Star
442 | Serum TIBC Kit | 0 |  | 0
261 | H.Pylori Devices | 25 | 120 | 145 | H.Pylori Devices | 40Test/Kit | 40 | 01.Kit | Immumed | China | Lab Link | [12 empty] | H.Pylori Devices | 1x40 Test | Fastep | Three Star
444 | SGPT / ALT 400ML(2000 TESTS) | 5 | 2 | 7 | [15 empty] | GPT (ALAT) IFCC mod. LiquiUV | Human | 8x50ml | Popular International
445 | SGPT 100 ml | 0 |  | 0
446 | Sim Media For Microrgnasim | 0 |  | 0
447 | Simmon Citrate Media | 0 |  | 0
448 | SLE/ANA Kit | 2 | 2 | 4 | [15 empty] | SLE Quick Test | Human | 50 tests | Popular International
449 | Slide Box TB DOTS | 0 |  | 0
450 | Slide Folder | 0 |  | 0
451 | Slide Rack 1x100 Slides | 0 |  | 0
452 | Slide Staining Rod | 0 |  | 0
453 | SNAPPACK 9180 | 0 |  | 0
454 | SNAPPACK 9181 | 0 |  | 0
455 | Sodium Citrate (AR) | 0 |  | 0
456 | Sodium Citrate Powder(1kg | 0 |  | 0
275 | HbSAg devices | 45312 | 4336 | 49648 | HbSAg devices | 40Test/Kit | 40 | 01.Kit | ABON/Acon | China | Lab Link | [12 empty] | HBsAg Devices | 1x40 Test | Fastep | Three Star
458 | Sodium Conditioner | 0 |  | 0
459 | Sodium Electrode | 0 |  | 0
460 | Sodium Kit | 0 |  | 0
461 | Sodium Kit (Mono Reagent) | 0 | 2 | 2
462 | Sodium Kit With Standard | 0 |  | 0
463 | SOL Combi-Trol Ts Plus, L1 | 0 |  | 0
464 | SOL Combi-Trol Ts Plus, L2 | 0 |  | 0
465 | SOL Combi-Trol Ts Plus, L3 | 0 |  | 0
466 | Spacer for Humalyte | 0 |  | 0
467 | Special Wash Solution 12X30 ml For Huma Star-200 | 0 | 2 | 2 | [15 empty] | Special Wash Solution For Humastar-200 | Human | 12x30ml | Popular International
468 | Specimen Collection | 0 |  | 0
469 | Spermatoza | 0 |  | 0
470 | Spirit Lamp (Glass) | 0 |  | 0
285 | HCV Devices | 45552 | 4332 | 49884 | HCV Devices | 40Test/Kit | 40 | 01.Kit | ABON/ACON | China | Lab Link | [12 empty] | HCV Devices | 1x40 Test | Fastep | Three Star
472 | SS Agar | 0 |  | 0
356 | MP Device (Nova) | 648 | 1020 | 1668 | MP Device (Nova) | 25Test/Kit | 25 | 01.Kit | Nova Test | Korea | Lab Link | Humasis MP ICT | 25 Test | Korea | FY Diagnostic | [8 empty] | MP Device | 1x40 Test | Fastep | Three Star
474 | Stone Analysis Kit | 0 |  | 0
475 | Stool Occulate blood | 0 | 2 | 2
476 | Storage & Autoclave Basket | 0 |  | 0
477 | Streight Wire Loop | 0 |  | 0
478 | Stremato Lyser WH 500 ml | 40 |  | 40 | [11 empty] | Stromatolyser WH US FDA Approved | Sysmex | 500ml | S.Ejazuddin
479 | Strips For Ocult Blood | 0 |  | 0
480 | Subrod Agar | 0 |  | 0
481 | Sulbectum | 0 |  | 0
482 | Sulfamethoxazole | 0 |  | 0
483 | Sulfied Inodol Motilaty Agar | 0 |  | 0
484 | Sulfuric Acid 2.5 Ltr. | 0 |  | 0
485 | Sulfuric Acid 250ml | 0 |  | 0
486 | Swab For. Culture | 0 | 200 | 200
487 | Swain Flue rapid antigin test | 0 |  | 0
488 | Swine Flu (Elisa ) Kit | 2 |  | 2 | Swine Flu (Elisa ) Kit(Not Returnable) | 96Test/Kit | 96 | 01.Kit | Novatec | Germany | Lab Link
489 | Swine Flu Device | 0 |  | 0
490 | T G 150 ml Kit (540 Tests) | 0 | 2 | 2
387 | Petri Dish 4" 90 mm (Disposable) | 0 | 200 | 200 | [19 empty] | Petri Dish 4" 90 mm Disposable | 1x10 Pairs | China | Three Star
492 | T3 Kit | 0 |  | 0
493 | T3 Elisa 96 Tests kit | 0 | 6 | 6 | T3 Elisa 96 Tests kit | 96Test/Kit | 96 | 01.Kit | Novatec | Germany | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | T3 Elisa Kit | Human | 96 Test | Popular International
494 | T4 Kit | 0 |  | 0
495 | T4 Elisa 96 Tests kit | 0 | 4 | 4 | T4 Elisa 96 Tests kit | 96Test/Kit | 96 | 01.Kit | Novatec | Germany | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | T4 Elisa Kit | Human | 96 tests | Popular International
496 | TCBS Agar | 0 |  | 0
404 | Pregnancy Strips | 0 |  | 0 | [19 empty] | Pregnancy Strips | 1x100 Test | Fastep | Three Star
430 | RPR/VDRL Device | 1152 |  | 1152 | RPR/VDRL Device | 40Test/Kit | 40 | 01.Kit | Immumed | China | Lab Link | [12 empty] | RPR/VDRL Device | 1x40 Test | Fastep | Three Star
499 | Thermal Paper for humalyte | 3 |  | 3 | [15 empty] | Thermal Paper roll for Humalyte Plus-3 | Human | Single | Popular International
500 | Thermal Printer Paper | 0 | 74 | 74 | [15 empty] | Thermal Paper roll for Humalyte Plus-3 | Human | Single | Popular International
501 | Thermameter Glass | 0 |  | 0
502 | TIBC | 2 |  | 2 | [15 empty] | TIBC (Total Iron Binding Capacity) | Human | 100 tests | Popular International
503 | TIBC Kit For Huma Star-200 | 0 |  | 0
504 | Tigecycline | 0 |  | 0
505 | Tooth Picks Wooden | 0 |  | 0
506 | Total protein | 3 |  | 3 | [15 empty] | Total Protein Liquicolor | Human | 4 x 100 ml | Popular International
507 | Total Protein For Blood/Fluid | 0 |  | 0
508 | Total Protein Kit For Huma Star-200 | 0 | 2 | 2 | [15 empty] | Total Protein Liquicolor | Human | 4 x 100 ml | Popular International
431 | Sample Cup | 1 |  | 1 | [19 empty] | Sample Cup (Hitachi Cup) | 1x500 | China | Three Star
510 | Triglyceride Kit For Huma Star-200 | 0 | 2 | 2 | [15 empty] | Triglyceride GPO Liquicolor Mono | Human | 4x100 ml | Popular International
511 | Trigylosides kit | 5 |  | 5 | [15 empty] | Triglyceride GPO Liquicolor Mono | Human | 4x100 ml | Popular International
512 | Trimethoprim+Sulfamethoxaz | 0 |  | 0
441 | Serum Plastic Store Vial 1.5ml | 2400 | 14000 | 16400 | Serum Plastic Store Vial 1.5ml | 500/Pkt | 500 | 01.Pkt | immumed | china | Lab Link | [12 empty] | Serum Plastic Store Vial 1.5ml | 1x500 | China | Three Star
514 | TSH Kit | 14 |  | 14 | TSH Kit | 96Test/kit | 96 | 01.Kit | Novatec | Germany | Lab Link | [8 empty] | TSH Elisa Kit | Human | 96 tests | Popular International
515 | TSH Elisa 96 Tests kit | 0 | 6 | 6 | TSH Elisa 96 Tests kit | 96Test/Kit | 96 | 01.Kit | Novatec | Germany | Lab Link | Dia-Source | 96 Test | Belgium | FY Diagnostic |  |  |  |  | TSH Elisa Kit | Human | 96 tests | Popular International
516 | TSI Agar 500gm Bottle | 0 |  | 0
517 | TSI Agar(Ready Made) | 0 |  | 0
518 | Tuber Culin Test | 0 |  | 0
519 | Tubing | 0 |  | 0
443 | Serum Vials 3 ml | 0 | 11800 | 11800 | Serum Vials 3 ml | 100/Pack | 100 | 01.Pack | Immumed | China | Lab Link | [12 empty] | Plain Tube 3 ml Serum Vials 3 ml Red Cap | 1x100 | Bio-vac | Three Star
521 | Typtic Soya Broth | 0 |  | 0
522 | Urea (125 ml) | 0 |  | 0
523 | Urea (200 ml) | 0 |  | 0
524 | Urea 100 ml | 0 |  | 0
525 | urea agar base | 2 |  | 2
526 | Urea Kit (UV) | 0 | 6 | 6 | [15 empty] | Urea Liqui UV (GLDH Method) | Human | 8x50ml | Popular International
527 | Urea Kit For Huma Star-200 | 2 |  | 2 | [15 empty] | Urea Liqui UV (GLDH Method) | Human | 8x50ml | Popular International
528 | Uric Acid | 5 |  | 5 | [15 empty] | Uric Acid Liquicolor | Human | 4x100ml | Popular International
529 | Uric Acid Kit For Huma Star-200 | 0 | 4 | 4 | [15 empty] | Uric Acid Liquicolor | Human | 4x100ml | Popular International
471 | Sputum Cup TB DOTS | 0 |  | 0 | [19 empty] | Sputum Cup TB DOTS | 1x100 | Local | Three Star
491 | T.B Devices | 0 | 100 | 100 | T.B Devices | 40Test/kit | 40 | 01.kit | Immumed | China | Lab Link | [12 empty] | T.B Devices | 1x40 test | Fastep | Three Star
497 | Test tube plastic disp | 61200 | 15404 | 76604 | Test tube plastic disp | 500Pcs/Pkt | 500 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | Test Tube Plastic Disp 12x75 mm | 1x500 | China | Three Star
498 | Thermal Paper Roll for | 3 |  | 3 | [11 empty] | Thermal Paper Roll for Sysmex | - | 12Nos | S.Ejazuddin | Thermal Paper roll for Humalyte Plus-3 | Human | Single | Popular International | Thermal Paper Roll for sysmex | 1xNo | Local | Three Star
520 | Typhidot device | 48 | 532 | 580 | Typhidot device | 40Test/Kit | 40 | 01.kit | Immumed | China | Lab Link | [12 empty] | Typhidot device | 1x40 test | Fastep | Three Star
530 | Urine Container (Sterlized) | 120 | 60 | 180 | Urine Container (Sterlized) | 01 No | 1 | 01.No | Medica | China | Lab Link | [12 empty] | Urine Container Sterilized 100 ml | 1x100 | Local | Three Star
531 | Urine container unsterlized | 16800 | 3000 | 19800 | Urine container unsterlized | 01 No | 1 | 01.No | Medica | China | Lab Link | [12 empty] | Urine container unsterlized 100 ml | 1x100 | Local | Three Star
533 | Urine strips 10 para | 120 | 36 | 156 | Urine strips 10 para | 100Test/Vial | 100 | 01.Vial | SD | Korea | Lab Link | Urine Strip 10 Para | 100 Test | Humasis / Korea | FY Diagnostic |  |  |  |  | Urine Strips 10 Parameter “Mission Expert 10SW” Nit/Uro/Prot/PH/Blood/S.G/Ket/ Bili /Glucose & Leukocyte | Acon USA | 1000's | Popular International | Urine strips 10 para (ComboStick) | 1x100 | DFI | Three Star
538 | Vit.D Eliza (96 Tests) | 0 |  | 0
539 | Wash Additive 4X25 ml For Huma Star-200 | 2 | 4 | 6 | [15 empty] | Wash Additive For Humastar-200 | Human | 4x25ml | Popular International
540 | Washing Bottles | 0 |  | 0
535 | Vacutainer Tube Jell Plain | 30600 |  | 30600 | Vacutainer Tube Jell Plain | 100/Pack | 100 | 01.Pkt | Immumed | China | Lab Link | [12 empty] | Vacutainer Tube Plain 3 ml | 1x100 | Bio-vac | Three Star
542 | Weekly Cleaning Solution For Humalyte Plus 3 | 0 |  | 0
543 | Whattman Paper NO.40 | 0 |  | 0
544 | Whattman Paper No.42 | 0 |  | 0
545 | Widal set | 6 | 6 | 12 | Widal set | 6x5 ml | 100 | 01.Set | Atlas | Germany | Lab Link
546 | Xylene for Microscope 500ml | 0 |  | 0
547 | Yellow Tips (1000 pcs) | 30 | 28 | 58 | [19 empty] | Yellow Tips (1000 pcs) | 1x1000 | China | Three Star
548 | Z.N Stain (Carbal fuchin | 5 |  | 5 | Z.N Stain (Carbal fuchin | 500ml/Vial | 1000 | 01.Bottle | Medilines | Pakistan | Lab Link
549 | Z.N Stain (Decolourized) | 4 |  | 4 | Z.N Stain (Decolourized) | 500ml/Vial | 1000 | 01.Bottle | Medilines | Pakistan | Lab Link